## Wastewater TP_TableToExcel
OBJECTID | COMPKEY | ASSETTYPE | DESCR | SERVSTAT | OWN | ZCOORD | INSTDATE | ASBUILT | SCHEME | DATA_SRC | COMMENTS | ADDDBY | ADDDTTM | MODBY | MODDTTM | CONFIDENCE | CRITICALITY | created_user | created_date | last_edited_user | last_edited_date | GlobalID
1 | 267366 | WWTREAT | WWTP_GB_10413 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Wastewater Disposal Field | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {9961F833-ABE9-441A-AE28-2B83470AD8E2}
2 | 1108 | WWTREAT | STWP-WANAKA PONDS | ABANDON | QLDC | 0 | 1977-12-31 11:00 |  | WANAKA |  | Wanaka Oxidation Ponds | UNK | 2000-12-31 11:00 | UNK | 2000-12-31 11:00 | [6 empty] | {17B7DB13-3757-4ED7-9B8B-44C7DC194176}
3 | 267363 | WWTREAT | WWTP_GB_10417 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Grease trap 3 chamber | BFC | 2016-01-05 11:00 | BFC | 2016-01-05 11:00 | [6 empty] | {C2EFC7E1-B414-4B83-8881-93D47E3E2412}
4 | 305662 | WWTREAT |  | ACTIVE | PRIVATE |  | 2017-12-11 11:00 | RM170301 | NOSCHEME | CFMA | 7000ltr Shared step tank | BFC | 2018-05-22 05:29 |  | 2018-05-22 05:29 | [6 empty] | {C2D0D7B5-5547-42D8-B9C5-A6C61B64CB21}
5 | 267374 | WWTREAT | WWTP_GB_10422 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {5EDCF774-1294-4A39-A8E7-5792BFE4B7D5}
6 | 231675 | WWTREAT | STCR-PHEONIX 47 | ACTIVE | QLDC | 0 | 1900-12-31 11:00 | C-17-002 | NOSCHEME | ASBUILT_CAD | Pheonix 47 wastewater treatment plantDrawn by request as per "Cardrona Water Supply for plan", TRIM Ref. D63577. Ammended 11/5/2017 C-17-002 | MO | 2012-09-20 12:00 | APH | 2019-10-03 11:00 | [6 empty] | {21337AF7-E88E-4E9F-B2E0-B78235E9937A}
7 | 267383 | WWTREAT | WWTP_GB_10431 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Wastewater Treatment Plant | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {A72E6DEC-0446-4C93-B9DF-0AD2FE902DBA}
8 | 267362 | WWTREAT | WWTP_GB_10411 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Wastewater Disposal Field | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {9C57D015-DF84-43D3-A991-B600941147AF}
9 | 300528 | WWTREAT | WWTP - CR | ACTIVE | QLDC | 0 | 2017-03-21 11:00 | C-17-002 | CARDRONA | ASBUILT_CAD | Cardrona Wastewater Disposal Field | BFC | 2017-11-11 11:00 | BFC | 2017-11-11 11:00 | [6 empty] | {98859743-9D44-4C96-9CE2-F51F80BEF90C}
10 | 233686 | WWTREAT | STID-INVINCIBLE DR | ACTIVE | PRIVATE | 0 | 1900-12-31 11:00 |  | NOSCHEME |  | Invincible Drive Wastewater Treatment Facility | AC | 2012-11-28 11:00 | AC | 2012-11-28 11:00 | [6 empty] | {E7F358C1-96C8-4B55-B6C6-FC92FD215CCF}
11 | 267382 | WWTREAT | WWTP_GB_10430 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {1E996F80-F408-4408-A5BC-FA785077E353}
12 | 231673 | WWTREAT | STBB-BENBRAE INNFLO | ACTIVE | PRIVATE | 0 | 1900-12-31 11:00 |  | NOSCHEME |  | Benbrae Innflo Wastewater Treatment PlantDrawn by request as per "Cardrona Water Supply for plan", TRIM Ref. D63577 | MO | 2012-09-20 12:00 | MO | 2012-09-20 12:00 | [6 empty] | {54C154B1-E5BD-405A-BA44-E856550AF0F6}
13 | 1110 | WWTREAT | STSP-SHOTOVER PONDS | ACTIVE | QLDC | 0 | 1977-12-31 11:00 | 46 | QUEENTWN |  | Shotover Oxidation Ponds | UNK | 2000-12-31 11:00 | UNK | 2000-12-31 11:00 | [6 empty] | {EC813BBC-0598-4A04-85B0-910A34B3C69A}
14 | 276234 | WWTREAT | STSD-SHOTOVER DELTA | ACTIVE | QLDC | 0 | 1900-12-31 11:00 |  | QUEENTWN |  | Shotover Treatment Plant (MLE) | MO | 2017-04-17 12:00 |  | 1900-12-31 11:00 | [6 empty] | {8DB9E3ED-39E0-49D1-A10E-5E34A5E0E822}
15 | 267371 | WWTREAT | WWTP_GB_10419 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank with Pump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {AFF8A52E-CB7A-410C-A645-D22053B11E14}
16 | 267367 | WWTREAT | WWTP_GB_10414 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Wastewater Disposal Field | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {351300F2-3530-482F-8CE5-18FE7D6353C9}
17 | 267381 | WWTREAT | WWTP_GB_10429 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Greywater Dump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {6834D9F5-7B03-4D8B-B6F3-DE71DA6AD8D7}
18 | 267372 | WWTREAT | WWTP_GB_10420 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {79341FBD-AA33-4557-B1FA-9BBFE19FF634}
19 | 1107 | WWTREAT | STAP-ALBERT TOWN PND | ACTIVE | QLDC | 0 | 1988-12-31 11:00 | 69 | WANAKA |  | Storage for Project Pure - no treatment | UNK | 2000-12-31 11:00 | UNK | 2000-12-31 11:00 | [6 empty] | {EC72E8F5-5B35-4739-9F05-ACDDCBC6290A}
20 | 267379 | WWTREAT | WWTP_GB_10427 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Greywater Dump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {FE9C2DE3-3E9D-4EBB-A5D0-7C7731D19EA0}
21 | 1109 | WWTREAT | STLS-SEPTIC TANKS | ACTIVE | QLDC | 0 | 2005-12-31 11:00 |  | LUGGATE |  | Luggate Wastewater TreatmentUpdated to ownership QLDC 4/10/2019 based on conversation with Ulrich Glasner and Erin Moogan. Previously owned by Luggate Holdings Limited. | UNK | 2000-12-31 11:00 | APH | 2019-10-03 11:00 | [6 empty] | {5425FD7B-4B2A-4B6A-A215-FF2D1C28899D}
22 | 267370 | WWTREAT | WWTP_GB_10418 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {608A305B-871E-4B44-88E8-2CEDFEE60291}
23 | 267368 | WWTREAT | WWTP_GB_10415 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Wastewater Disposal Field | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {F1618C77-2CCA-4478-AFBD-45CBA51E5311}
24 | 79299 | WWTREAT | STPP-PROJECT PURE | ACTIVE | QLDC | 0 | 2008-11-03 11:00 |  | WANAKA |  | Project Pure Wastewater Treatment | UNK | 2000-12-31 11:00 | UNK | 2000-12-31 11:00 | [6 empty] | {7AE69CE2-C9B4-45F2-BCC0-7DCB1E4A6C66}
25 | 305663 | WWTREAT |  |  | PRIVATE |  | 2017-11-06 11:00 | RM171222 | NOSCHEME | Triple Star | Disposal Field | BFC | 2018-05-22 19:56 |  | 2018-05-22 19:56 | [6 empty] | {F3D37B5C-8E9D-436A-B452-845080F0ECA9}
26 | 272379 | WWTREAT | WWTP_RAMADA | ACTIVE | PRIVATE | 705.01 | 2013-12-31 11:00 | RM150594 | QUEENTWN | ASBUILT_CAD | Grease Trap | BFC | 2016-08-15 12:00 | BFC | 2016-08-15 12:00 | [6 empty] | {19932895-9AFC-4FB4-BE56-62068EDBDEC8}
27 | 267376 | WWTREAT | WWTP_GB_10424 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Grease trap 3 chamber | BFC | 2016-01-05 11:00 | BFC | 2016-01-05 11:00 | [6 empty] | {B57B9170-3C1A-44EA-AFF3-93E9ABFAD335}
28 | 267373 | WWTREAT | WWTP_GB_10421 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank with Pump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {53658A09-194B-474B-95F9-711088C7E4E8}
29 | 267365 | WWTREAT | WWTP_GB_10412 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Wastewater Disposal Field | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {6E1CF550-7F93-4FC1-B0BB-AD388BA7FBBB}
30 | 267369 | WWTREAT | WWTP_GB_10416 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank with Pump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {A55A7673-E38C-4AC6-AD85-1D363AAD36D8}
31 | 314313 | WWTREAT |  | ACTIVE | PENDING |  | 2018-11-15 21:08 | C-18-008 | QUEENTWN | FH | Disposal Field | BFC | 2018-11-15 21:09 |  | 2018-11-15 21:09 | [6 empty] | {95A4A80A-831A-416C-93E8-AF5CE8ACE5E1}
32 | 267380 | WWTREAT | WWTP_GB_10428 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Greywater Dump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {3B662D99-7516-4FC3-BB87-AD4E7D064B9B}
33 | 233685 | WWTREAT | STLP-LANCASTER PLACE | ACTIVE | PRIVATE | 0 | 1900-12-31 11:00 |  | NOSCHEME |  | Lancaster Place Wastewater Treatment Facility | AC | 2012-11-28 11:00 | AC | 2012-11-28 11:00 | [6 empty] | {14180198-8FDF-4D23-9FEC-CA5CA56D8BC9}
34 | 267375 | WWTREAT | WWTP_GB_10423 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank with Pump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {08CAB140-AB4A-4BEB-9B0D-7F36C09BF596}
35 | 231672 | WWTREAT | STCP-CARDRONA PUB | ACTIVE | PRIVATE | 0 | 1900-12-31 11:00 |  | NOSCHEME |  | Cardrona Pub Wastewater Treatment Plant and DisposalDrawn by request as per "Cardrona Water Supply for plan", TRIM Ref. D63577 | MO | 2012-09-20 12:00 | MO | 2012-09-20 12:00 | [6 empty] | {B229CA73-66A9-4BED-B57A-67F33FE5704C}
36 | 267378 | WWTREAT | WWTP_GB_10426 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank with Pump Station | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {DEBCE355-B3EC-4556-A0C8-CDF8DAE0FB72}
37 | 267377 | WWTREAT | WWTP_GB_10425 | ACTIVE | QLDC | 0 | 2011-11-28 11:00 | CAD | WANAKA | INNOFLOW_ASB | Septic Tank | BFC | 2016-01-06 11:00 | BFC | 2016-01-06 11:00 | [6 empty] | {3E793D75-1FC2-48CD-9649-44A9F6FB9C2C}
38 | 1106 | WWTREAT | STHP-HAWEA PONDS | ACTIVE | QLDC | 0 | 1987-12-31 11:00 |  | LKHAWEA |  | Hawea Oxidation Ponds | UNK | 2000-12-31 11:00 | UNK | 2000-12-31 11:00 | [6 empty] | {14EF4B20-0465-4DBA-8FFE-97C7DBFF07C5}
39 | 231674 | WWTREAT | STBD-BENBRAE DFIELD | ACTIVE | PRIVATE | 0 | 0.54167 |  | NOSCHEME |  | Benbrae Wastewater Disposal FieldDrawn by request as per "Cardrona Water Supply for plan", TRIM Ref. D63577 | MO | 2012-09-20 12:00 | MO | 2012-09-20 12:00 | [6 empty] | {065BEAC2-1893-4600-86AC-ED860E469164}
40 | 338218 |  | Wastewater Treatment plant | ACTIVE | PRIVATE | 357.75 | 2019-03-15 11:00 | RM181117 |  | SLL |  | BFC | 2021-04-14 22:18 | BFC | 2021-04-14 22:18 | High |  | Brett.Clews_QLDC | 2021-04-15 19:29 | SDE | 2021-04-28 04:46 | {15445E12-1A9F-4201-84AC-A02900F9C2DD}
43 | 351357 | WWTREAT | WW Treatment Plant | ACTIVE | QLDC |  |  | CAPEX 000434 |  |  | Generic polygon shape as no asbuilt provided. $12.5 million total cost | [6 empty] | Steve.Boswell_EXT | 2022-04-18 23:49 | Steve.Boswell_EXT | 2022-04-18 23:49 | {6C274D90-C836-4719-A45B-E4A9127BB73A}
443 | 352992 | WWTREAT | Septic Tank | ACTIVE | PRIVATE |  | 2018-01-01 | RM170565 | [9 empty] | Steve.Boswell_EXT | 2022-05-16 23:44 | Steve.Boswell_EXT | 2022-05-17 01:34 | {1CDC15BA-D7E0-4262-8624-77417381D179}
444 | 352993 | WWTREAT | Septic Tank | ACTIVE | PRIVATE |  | 2018-01-01 | RM170565 | [9 empty] | Steve.Boswell_EXT | 2022-05-16 23:45 | Steve.Boswell_EXT | 2022-05-17 01:34 | {1EF1613E-5E59-4BD6-8193-CE039E2CDDE8}
445 | 352994 | WWTREAT | Disposal Bed/Drip Line | ACTIVE | PRIVATE |  | 2018-01-01 | RM170565 | [9 empty] | Steve.Boswell_EXT | 2022-05-16 23:45 | Steve.Boswell_EXT | 2022-05-17 02:49 | {B2415967-EA07-49A9-91C4-2111151705B8}
446 | 352995 | WWTREAT | Disposal Beds/Drip Line | ACTIVE | PRIVATE |  | 2018-01-01 | RM170565 | [9 empty] | Steve.Boswell_EXT | 2022-05-16 23:46 | Steve.Boswell_EXT | 2022-05-17 01:34 | {5738FAF0-D0A8-4B10-991E-1DF4F2D78543}
843 | 355337 | WWTREAT |  | ACTIVE | QLDC |  |  | CAPEX 000434 | [9 empty] | Steve.Boswell_EXT | 2022-07-28 20:09 | Steve.Boswell_EXT | 2022-07-28 20:10 | {D2B904D5-7FE2-47C3-B9D6-167635AF671A}