## 25
OBJECTID | Component Key | Asset Type | Asset Description | Service Status | Asset Owner | Surface or Cover Elevation (m) AMSL | Install Date | RM/CAPEX Ref | Scheme Serviced | Data Supplied By | Comments | Added By | Added Date | Last Modified By | Last Modified Date | Confidence | Criticality | created_user | created_date | last_edited_user | last_edited_date | GlobalID
1 | 236992 | WWPUMP | SPFB-FRANKTON BEACH B | ACTIVE | QLDC | 0 | 2012-08-08 |  | QUEENTWN |  | FRANKTON BEACH #2 WASTEWATER PUMPSTATION | UNK | 2001-01-01 | UNK | 2001-01-01 |  |  |  |  | Alex.Huizenga@qldc.govt.nz | 2021-05-16 23:36 | {D458CA5E-B986-47C6-AD40-8359B08B7A97}
2 | 1050 | WWPUMP | SPNS-NORFOLK STREET | ACTIVE | QLDC | 0 | 1994-01-01 | 38 | ARRWTWN |  | Norfolk Street Wastewater Pump Station, Wet well, 2 x submerged pumps | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {11D272C7-95C7-40F1-AB59-FC7B0216C5DD}
3 | 1062 | WWPUMP | SPWL-WILLOW PLACE | ACTIVE | QLDC | 0 | 1984-01-01 | 33 | QUEENTWN |  | Willow Place Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 |  |  |  |  | Alex.Huizenga@qldc.govt.nz | 2021-08-25 01:38 | {651DED27-2CF7-4E8C-9EBE-4D1D6ADF66AA}
4 | 250653 | WWPUMP | SPEC-EVENTS CENTRE | ACTIVE | QLDC | 0 | 2008-01-01 |  | QUEENTWN |  | Events Centre Main Wastewater Pump Station | MO | 2014-12-09 | MO | 2014-12-09 | [6 empty] | {DFE1B06E-DC7A-4760-8B71-8AD8FA629C29}
5 | 1082 | WWPUMP | SPD1-DUNGARVON #1 | ACTIVE | QLDC | 0 | 1974-01-01 | 58 | WANAKA |  | Dungarvon Street No.1 Wastewater Pump Station, Wet well, 2 x submerged pumps, | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {CBD06528-72E0-4678-BC4A-93B207D1B10E}
6 | 1078 | WWPUMP | SPA2-KINGSTON STREET | ACTIVE | QLDC | 0 | 1989-01-01 | 72 | WANAKA |  | Kingston Street Wastewater Pump Station, Wet well, 2 x Submerged pumps | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {DED59DCD-261A-4581-BEAA-12D52DDA3AD6}
7 | 1080 | WWPUMP | SPEP-EELY POINT | ACTIVE | QLDC | 0 | 2000-01-01 |  | WANAKA |  | Eely Point Wastewater Pump Station | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {3C541161-7455-419E-B974-57D00C3989DC}
8 | 1067 | WWPUMP | SPPS-PARK STREET | ACTIVE | QLDC | 0 | 1975-01-01 | 36 | QUEENTWN |  | Park Street Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {40E961A3-EAFC-4D50-A1F5-E3B98A386DAA}
9 | 318331 | WWPUMP | SPHD-HANLEY DOWNS | ACTIVE | QLDC | 335 | 2018-08-23 | RM160562 | QUEENTWN |  | Hanley Downs Wastewater Pump StationSewer Pump Station with Storage and Flush Tanks Adjacent. | APH | 2019-09-06 | [8 empty] | {528E10EA-D725-4BBE-96A3-39695A98862C}
10 | 1065 | WWPUMP | SPMP-MARINE PARADE | ACTIVE | QLDC | 0 | 1975-01-01 | 25 | QUEENTWN |  | Marine Parade Wastewater Pump Station, Wet well, 4 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {CB7B9861-B30B-4228-84FC-359A0F479C52}
11 | 233683 | WWPUMP | SPLP-LANCASTER PLACE | ACTIVE | PRIVATE | 0 | 1901-01-01 |  | NOSCHEME |  | Lancaster Pl Wastewater Pumpstation | AC | 2012-11-29 | AC | 2012-11-29 | [6 empty] | {C49C1222-DC89-43B4-A5AE-306DB79828C1}
12 | 1069 | WWPUMP | SPCD-CEDAR DRIVE | ACTIVE | QLDC | 0 | 1970-01-01 | 26 | QUEENTWN |  | Cedar Drive Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {1A6BBC63-F933-4C82-9843-88E125325CB4}
13 | 1066 | WWPUMP | SPPL-PARK ST LIFT | ACTIVE | QLDC | 0 | 2003-01-01 |  | QUEENTWN |  | Park Street Lift Wastewater Pump Station, wet well, 2 x submerged pumps.Uses the same building as SPPS-PARK STREET to house the switchboard, power and pump control. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {BFBFBB84-D102-4ACA-8418-8B4EB42050A5}
14 | 318035 | WWPUMP | SPWL-WAN-LUGG HWY #2 | ACTIVE | QLDC | 281.5 | 2019-07-12 | C-019-009 | LUGGATE | Fulton Hogan | Wanaka-Luggate Highway No. 2 Wastewater Pump Station (State Highway 8A) | BFC | 2019-07-31 09:36 | BFC | 2019-07-31 09:36 | [6 empty] | {47880472-1E16-4EB7-B3E0-0A9830A6BF63}
15 | 313088 | WWPUMP | SPRV-RETIRE VILLAGE | ACTIVE | QLDC |  | 2018-08-14 09:21 | RM160141 | ARRWTWN | ASCL | ALRV Pumpstation | S LYNDS | 2018-10-23 09:22 | APH | 2019-07-19 09:22 | [6 empty] | {465BBA9D-A72B-4141-95A1-6042907D1F05}
16 | 1043 | WWPUMP | SPFS-FREDERICK ST | ACTIVE | QLDC | 0 | 2003-01-01 |  | WANAKA |  | Frederick Street Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {825A7785-0034-4D76-AC9A-117E32A14E38}
17 | 1063 | WWPUMP | SPKP-KAWARAU PLACE | ACTIVE | QLDC | 0 | 1985-01-01 | 34 | QUEENTWN |  | Kawarau Place Wastewater Pump Station, Wet well, 2 x submerged pumps.CAPEX work carried out in Ocober 2009 by GHD (new valves, new pumps and switchboard upgraded but not replaced). | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {75322284-DBCB-4BEF-9E84-E12969426588}
18 | 79842 | WWPUMP | SPAT-ATLEY ROAD | ACTIVE | QLDC | 0 | 2005-01-01 |  | ARTHPT |  | Atley Road Sewer Pumpstation, wet well, 2 x submerged pumps.Business card in the cabinet for Pete Fullerton-Smith of Hadley's. 034502140 pete@hadleys.co.nz | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {C75F3211-48B4-43FE-89B4-3DC012DEEDC8}
19 | 79297 | WWPUMP | SPP2-ALBERTTOWN #2 | ACTIVE | QLDC | 0 | 2008-11-04 |  | WANAKA |  | Albert Town-Lake Hawea Road No. 2 Wastewater Pump Station, Wet well, 1 x non-fixed submerged pump. | UNK | 2001-01-01 | GH | 2009-08-14 | [6 empty] | {6EFDB77B-3B91-437E-8013-7F0743951CC5}
20 | 209826 | WWPUMP | SPW2-THREEPWOOD #2 | ACTIVE | QLDC | 0 | 2007-01-01 |  | LKHAYES |  | Threepwood Wastewater Pumpstation #2 LOT 30 DP 378242 | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {3F54E71F-EAD9-4A6F-B04D-907BB9BDE28F}
21 | 1060 | WWPUMP | SPFA-FRANKTON BEACH A | ACTIVE | QLDC | 0 | 1974-01-01 | 30 | QUEENTWN |  | Frankton Beach Wastewater Pump Station | UNK | 2001-01-01 | UNK | 2001-01-01 |  |  |  |  | Alex.Huizenga@qldc.govt.nz | 2021-05-16 23:36 | {8140ABC2-039A-4444-AE36-570292AD2576}
22 | 210529 | WWPUMP | SPWA-WAN-LUGG HWY #1 | ACTIVE | QLDC | 0 | 2010-10-01 |  | WANAKA |  | Wanaka-Luggate Highway No.1 Wastewater Pumpstation (State Highway 8A, Anderson Road) | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {AF4FF693-BC8F-4063-A66B-BEF6C5395D18}
23 | 1041 | WWPUMP | SPD2-DUNGARVON #2 | ACTIVE | QLDC | 0 | 1974-01-01 | 56 | WANAKA |  | Dungarvon Street No.2 Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {0B658591-43FC-44ED-BDF7-7AC00D2567EF}
24 | 231572 | WWPUMP | SPNI-NICHOL STREET | ABANDON | QLDC | 0 | 2002-01-01 | RM010765 | LKHAWEA | ASBUILT_DIG | Nichol Street Wastewater Pumpstation | AC | 2012-08-31 | APH | 2019-09-23 | [6 empty] | {7378C279-7B9E-4108-B4B4-80695774E1E1}
25 | 1051 | WWPUMP | SPMR-MCDONNELL RD | ACTIVE | QLDC | 0 | 1985-01-01 | 39 | ARRWTWN |  | McDonnell Road Wastewater Pump Station, Wet well, 2 x submerged pumps | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {9A5BC8CC-0C45-4D57-96DC-3C687931084D}
26 | 1053 | WWPUMP | SPL1-LAKE HAYES #1 | ACTIVE | QLDC | 0 | 2002-01-01 |  | LKHAYES |  | Lake Hayes #1 Wastewater Pump Station, Wet well, 2 x submerged pumps | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {64B4E173-F898-487D-9E81-9C96C8087249}
27 | 1074 | WWPUMP | SPHD-HIKUWAI DRIVE | ACTIVE | QLDC | 0 | 2005-01-01 |  | WANAKA |  | Hikuwai Drive Wastewater Pump Station | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {A36F42DB-FB41-418F-B157-075A7194EB6B}
28 | 1042 | WWPUMP | SPGR-GORDON ROAD | ACTIVE | QLDC | 0 | 1985-01-01 | 63 | WANAKA |  | Gordon Road Wastewater Pump Station, wet well, 2 x Submerged pump station | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {C8B1DF84-FB15-494B-84FD-6DEC465E0DF0}
29 | 1046 | WWPUMP | SPT4-ALICEBURNDR #1 | ACTIVE | QLDC | 281.78 | 2006-01-01 |  | LUGGATE |  | Alice Burn Drive No.1 Wastewater Pump Station, Wet well, 2 x submerged pumps.SSA21 | UNK | 2001-01-01 | BFC | 2019-07-31 | [6 empty] | {86623ECE-9A0E-4F65-8735-C981012814AC}
30 | 300527 | WWPUMP | SPMD - MEADOWSTONE | ACTIVE | QLDC | 0 | 2017-07-01 | RM150804 | WANAKA | ASBUILT_CAD | Meadowstone Foulsewer Pumpstation | BFC | 2017-07-12 | BFC | 2017-07-12 | [6 empty] | {90574728-F2C5-4A5D-BF5C-EEB779B42473}
31 | 226191 | WWPUMP | SPN2-NORFOLK ST #2 | ABANDON | QLDC | 0 | 1901-01-01 |  | ARRWTWN |  | Norfolk Street Abandoned Wastewater Pump Station | AC | 2012-02-07 | AC | 2012-02-07 | [6 empty] | {17A4977A-9CE0-4E9E-8346-46BBA4455B95}
32 | 206823 | WWPUMP | SPTB-TUCKERS BEACH | ACTIVE | QLDC | 0 | 2010-07-01 | RM070267 | QUEENTWN |  | Tucker Beach Wastewater Pumpstation | UNK | 2010-09-20 | UNK | 2010-09-20 | [6 empty] | {AF6301FF-6B9D-4DB1-B65E-270D91236E4D}
33 | 1047 | WWPUMP | SPT1-CHURCH RD | ACTIVE | QLDC | 0 | 2006-01-01 |  | LUGGATE |  | Church Road Wastewater Pump Station, Wet well, 2 x submerged pumps.st church | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {6F474EC7-717E-483A-9FC3-D4376815868B}
34 | 1071 | WWPUMP | SPH2-SCOTTS BEACH | ACTIVE | QLDC | 0 | 1988-01-01 | 74 | LKHAWEA |  | Scotts Beach Road Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {201B972B-7B33-4F90-B798-F691FB77F6A7}
35 | 245284 | WWPUMP | SPSC-STALKER RD | ACTIVE | QLDC | 0 | 2013-01-01 | RM120752 | SHTVRCTY | ASBUILT_CAD | Shotover Country Stalker Rd WW pumpstation | AC | 2013-12-04 | BFC | 2017-03-22 | [6 empty] | {56A21E94-81E6-40D2-B142-B2A270952F62}
36 | 1055 | WWPUMP | SPL2-LAKE HAYES #2 | ACTIVE | QLDC | 0 | 2002-01-01 |  | LKHAYES |  | Lake Hayes #2 Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {6032F183-CDD0-4AB4-AC42-817A7DEF3634}
37 | 79289 | WWPUMP | SPAR-AUBREY ROAD | ACTIVE | QLDC | 0 | 2003-01-01 | RM000020 | WANAKA |  | Aubrey Road Wastewater Pump Station, Wet well, 2 x submerged pumps. FASTFLO Package Plant. | UNK | 2001-01-01 | UNK | 2001-01-01 |  |  |  |  | SDE | 2020-09-10 00:17 | {DA65E0BB-0ED9-4581-9762-111C5DCF3EE1}
38 | 79296 | WWPUMP | SPP3-RIVERBANK RD | ACTIVE | QLDC | 0 | 2008-11-04 |  | WANAKA |  | Riverbank Road Wastewater Pump Station, Wet well , 2 x Submerged pumps | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {98499929-9F82-4319-BF12-E9E0ABE5ED5C}
39 | 1052 | WWPUMP | SPL6-LAKE HAYES #6 | ACTIVE | QLDC | 0 | 2002-01-01 |  | LKHAYES |  | Lake Hayes #6 Wastewater Pump Station, Wet well, 2 x Submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {2CEA9B91-0AA3-4502-AA03-C55553D661BB}
40 | 1054 | WWPUMP | SPBM-ARTN-LK HAYS RD | ACTIVE | QLDC | 0 | 1994-01-01 | 49 | ARRWTWN |  | Arrowtown-Lake Hayes Road Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {2190EC7C-4D3B-4B45-B25E-D60E29A287BC}
41 | 1048 | WWPUMP | SPT5-ALICEBURNDR #2 | ACTIVE | QLDC | 0 | 2006-01-01 |  | LUGGATE |  | Alice Burn Drive No.2 Wastewater Pump Station.SSA25 | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {A1464184-322C-445A-B5CB-E01E4F481370}
42 | 79298 | WWPUMP | SPP1-ALBERTTOWN #1 | ACTIVE | QLDC | 0 | 2008-11-04 |  | WANAKA |  | Albert Town-Lake Hawea Road No. 1 Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {FE08E59C-05A5-4DFE-AC48-E6BED98B0C33}
43 | 1056 | WWPUMP | SPAP-OXNBRDGE TUN RD | ACTIVE | QLDC | 0 | 2000-01-01 | 43 | ARTHPT |  | Oxenbridge Tunnel Road Wastewater Pump Station, Wet well chambers to provide for aeration, 2 x Mono positive displacement pumps dry mounted inside pump station building. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {5DEDF20F-21CC-4219-BFCC-1771FF6DC8FD}
44 | 1057 | WWPUMP | SPL3-LAKE HAYES #3 | ACTIVE | QLDC | 0 | 2002-01-01 |  | LKHAYES |  | Lake Hayes #3 Wastewater Pump Station, Wet well, 2 x Submerged Pumps | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {2DFD307F-1398-4BAD-B18C-CAA015831C1E}
45 | 227735 | WWPUMP | SPOR-OUTLET ROAD | ACTIVE | QLDC | 0 | 2012-03-01 |  | WANAKA |  | Outlet Road Wastewater Pumpstation | AC | 2012-03-07 | AC | 2012-03-07 | [6 empty] | {C696D0E2-F1C3-4077-89A7-A5EC3516416F}
46 | 1076 | WWPUMP | SPA1-ALISON AVE #2 | ACTIVE | QLDC | 0 | 1989-01-01 | 70 | WANAKA |  | Alison Avenue No.2 Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {D1A87C22-9F13-4E01-99A9-9D546A1F1FC5}
47 | 1081 | WWPUMP | SPK2-LAKESIDE RD #2 | ACTIVE | QLDC | 0 | 2000-01-01 |  | WANAKA |  | Lakeside Road No.2 Wastewater Pump Station, wet well, 1 x submerged pump | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {BF78794E-F65F-438D-993C-3493C766F93C}
48 | 1044 | WWPUMP | SPT2-HARRIS PLACE | ACTIVE | QLDC | 277.101 | 2006-01-01 |  | LUGGATE |  | Harris Place Wastewater Pump Station, Wet well, 2 x submerged pumpsharris place ssa10 | UNK | 2001-01-01 | BFC | 2019-07-31 | [6 empty] | {5412AA32-82B5-4D9A-ABC9-E74317CD98C7}
49 | 1045 | WWPUMP | SPT3-PISA ROAD | ACTIVE | QLDC | 0 | 2006-01-01 |  | LUGGATE |  | Pisa Road Wastewater Pump Station, Wet well, 2 x submerged pumps.rd pisa | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {945B4DDC-C814-44AB-8A72-EFE1C552066A}
50 | 300526 | WWPUMP | SPCD - CARDRONA | ACTIVE | QLDC | 0 | 2017-03-22 | C-17-002 | CARDRONA | ASBUILT_CAD | Cardrona Domain Foulsewer Pumpstation | BFC | 2017-05-12 | BFC | 2017-05-12 | [6 empty] | {14FCAE5D-C559-4861-9924-0D25D8A8A142}
51 | 1040 | WWPUMP | SPEW-EDGEWATER | ACTIVE | QLDC | 0 | 1986-01-01 | 55 | WANAKA |  | Edgewater Resort Wastewater Pump Station | UNK | 2001-01-01 | AC | 2010-03-23 | [6 empty] | {55E5F05B-DB4D-4B72-A89E-18C47BF9A71D}
52 | 272378 | WWPUMP | MWPS-HARVEST LANE | ACTIVE | PRIVATE | 0 | 2015-12-01 | RM140724 | ARRWTWN | ASBUILT_CAD | Millbrook West Pump Station | BFC | 2016-07-20 | BFC | 2016-07-20 | [6 empty] | {B687CA10-D424-4DDE-A4B0-B66B9815A7B4}
53 | 209825 | WWPUMP | SPW1-THREEPWOOD #1 | ACTIVE | QLDC | 0 | 2007-01-01 |  | LKHAYES |  | Threepwood Wastewater Pumpstation #1 | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {F398540C-F3A3-4699-A985-1C1FF1022601}
54 | 1073 | WWPUMP | SPCR-CEMETERY RD | ACTIVE | QLDC | 0 | 2003-01-01 |  | LKHAWEA |  | Cemetery Road Wastewater Pump Station, Wet well, | UNK | 2001-01-01 | AC | 2010-12-16 | [6 empty] | {B26B8863-F991-4F34-B294-63CF59D384E9}
55 | 276211 | WWPUMP | SPBF -BRIDESDALE | ACTIVE | QLDC | 0 | 2017-03-01 | SH150001 | LKHAYES |  | Bridesdale Farm Foulsewer Pumpstation | BFC | 2017-04-07 | BFC | 2017-04-07 | [6 empty] | {1F00FD0E-6BDD-44B3-BC69-88D02FC0194F}
56 | 1049 | WWPUMP | SPEA-ESSEX AVENUE | ABANDON | QLDC | 0 | 2004-01-01 | 39 | ARRWTWN |  | Essex Avenue Wastewater Pump Station, Wet well, 2 x Submerged pumps.Delphine Guerard (Veolia): Essex Av WWPS decommissioned in August 2018 by Veolia. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {AEADAC2C-9FD2-4F50-B20B-CCB6EF8C23A7}
57 | 267384 | WWPUMP | SPPP-STEVENSON RD | ACTIVE | QLDC | 0 | 2015-01-06 | W4679 | LUGGATE | ASBUILT_V | Project Pure Pump Station | BFC | 2015-12-14 | BFC | 2015-12-14 | [6 empty] | {F9F14A65-024B-4F14-A736-E07ACB4893C1}
58 | 317755 | WWPUMP | SPCV-Cardrona Villag | REMOVED | QLDC |  | 2016-01-01 |  | NOSCHEME | Rob Darby | Cardrona Village Toilets pumpstationRemoved in 2016 and replaced with SPCD | APH |  |  | 2019-07-08 | [6 empty] | {E2279E55-BE88-47DE-BBF7-E5843644D846}
59 | 209827 | WWPUMP | SPW7-THREEPWOOD #7 | ACTIVE | QLDC | 0 | 2007-01-01 |  | LKHAYES |  | Threepwood Wastewater Pumpstation #7 | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {948DF4DA-5250-428E-90B7-018D9982AB8A}
60 | 1061 | WWPUMP | SPGO-GORGE ROAD | ACTIVE | QLDC | 0 | 2002-01-01 |  | QUEENTWN |  | Gorge Road Wastewater Pump Station, Wet well, 1 x unfixed submerged pump. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {3DD08F3B-DC64-44F5-892D-92E51C2B1FEC}
61 | 1079 | WWPUMP | SPK1-LAKESIDE RD #1 | ACTIVE | QLDC | 0 | 1974-01-01 | 52 & 53 | WANAKA |  | Lakeside Road No.1 Wastewater Pump Station | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {9936C7C0-C45B-4D68-A288-0AB32482126A}
62 | 1064 | WWPUMP | SPRP-REMARKS PARK #1 | ACTIVE | QLDC | 0 | 1996-01-01 |  | QUEENTWN |  | Remarkables Park No.1 Wastewater Pump Station, Wet well, 2 x light submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {5AA4AEBA-5A65-4912-B4D5-13268CE0E2CE}
63 | 1075 | WWPUMP | SPWP-WAIMANA PLACE | ACTIVE | QLDC | 0 | 1991-01-01 |  | WANAKA |  | Waimana Place Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {B06B8B8A-D4E6-4CEE-94DC-B61B7504E3BD}
64 | 1070 | WWPUMP | SPSB-SUNSHINE BAY | ACTIVE | QLDC | 0 | 1976-01-01 | 24 | QUEENTWN |  | Sunshine Bay Wastewater Pump Station | UNK | 2001-01-01 | UNK | 2001-01-01 |  |  |  |  | Steve.Boswell_EXT | 2022-04-04 02:33 | {8523046E-B0EC-4155-A27B-D667AE130C1B}
65 | 79295 | WWPUMP | SPDR-DOMAIN ROAD | ACTIVE | QLDC | 0 | 2008-12-01 | RM050391 | LKHAWEA |  | Domain Road Wastewater Pump Station, "Timsfield", Wet well, 2 x submerged pumps.Domain Road | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {8E0D674A-5C93-471A-B834-A81AE41C2BC2}
66 | 250652 | WWPUMP | SPFF-FASTFLO BLOCK | REMOVED | QLDC | 0 | 2008-01-01 |  | QUEENTWN |  | Fastflo Toilet Block Wastewater Pump Station | MO | 2014-12-09 | MO | 2014-12-09 |  |  |  |  | SDE | 2020-07-22 04:05 | {43A050CF-E6A3-41B5-9B8A-818EEE7A2D55}
67 | 1072 | WWPUMP | SPH1-HAWEA ESPLANADE | ACTIVE | QLDC | 0 | 1988-01-01 | 73 | LKHAWEA |  | Hawea Esplanade Road Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {283346DB-8540-479B-98EA-91BF99CFB657}
68 | 1058 | WWPUMP | SPL4-LAKE HAYES #4 | ACTIVE | QLDC | 0 | 2002-01-01 |  | LKHAYES |  | Lake Hayes #4 Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {3C7CA281-8ECC-4971-9058-5ADF78A6E14C}
69 | 1059 | WWPUMP | SPL5-LAKE HAYES #5 | ACTIVE | QLDC | 0 | 2006-01-01 |  | LKHAYES |  | Lake Hayes #5 Wastewater Pump Station | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {D3892861-1F27-4A7F-9D74-390EED74B048}
70 | 1068 | WWPUMP | SPBV-BAYVIEW RD | ACTIVE | QLDC | 0 | 1984-01-01 | 27 | QUEENTWN |  | Bayview Road Wastewater Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {9066EF44-277E-4EB0-A92D-D34D0A70D53E}
71 | 1077 | WWPUMP | SPA3-ALISON AVE #1 | ACTIVE | QLDC | 0 | 1989-01-01 | 71 | WANAKA |  | Alison Avenue #1, Albert Town Sewage Pump Station, Wet well, 2 x submerged pumps. | UNK | 2001-01-01 | UNK | 2001-01-01 | [6 empty] | {7626DB93-6980-4CE5-AE08-3E6D0CBEE828}
72 | 233684 | WWPUMP | SPLB-LONGBURN AVE | INACTIVE | PRIVATE | 0 | 1901-01-01 |  | NOSCHEME |  | Longburn Ave Wastewater Pumpstation | AC | 2012-11-29 | AC | 2012-11-29 | [6 empty] | {5F48C30E-5FEF-4BFD-AC3A-7E035D88F85A}
85 | 330291 | WWPUMP | Wastewater Pumpstation | ACTIVE | PRIVATE | 286.02 | 2020-06-08 | RM190470 | WANAKA | Southern Land | Ecoflow E/One Simplex 800x2100IP | BFC | 2020-09-14 11:03 | BFC | 2020-09-14 11:03 | High |  | SDE | 2020-09-14 01:16 | SDE | 2020-10-04 23:44 | {7ED67A2C-D080-4C37-8F68-C3CBDEA02B3D}
86 | 330292 | WWPUMP | Wastewater Pumpstation | ACTIVE | PRIVATE | 286.02 | 2020-06-08 | RM190470 | WANAKA | Southern Land | Ecoflow E/One Simplex 800x2100IP | BFC | 2020-09-14 11:03 | BFC | 2020-09-14 11:03 | High |  | SDE | 2020-09-14 01:16 | SDE | 2020-10-04 23:44 | {0BABF7A8-C3FB-4343-851B-E6F56B371C0E}
485 | 333276 | WWPUMP | Wastewater Pumpstation | ACTIVE | PRIVATE |  | 2002-08-25 12:00 |  | LAKE HAYES |  | Existing Pump Station, has been digitised from hand drawn plans | BFC | 2020-11-24 10:04 | BFC | 2020-11-24 10:04 | High |  | SDE | 2020-11-23 22:34 | SDE | 2020-11-29 15:28 | {227D6255-53FD-4F81-81CC-318E8CE893CC}
486 | 337051 | WWPUMP | Wastewater Pumpstation | ACTIVE | PRIVATE | 410.3 | 2019-08-15 | RM171491 |  | CFMA |  | BFC | 2021-03-11 15:07 | BFC | 2021-03-11 15:07 | High |  | Brett.Clews_QLDC | 2021-03-11 02:45 | SDE | 2021-03-28 19:35 | {23D2AF7B-34DE-4BD8-9809-94F910117F94}
487 | 338644 | WWPUMP | SPJA - JONES AVE | ACTIVE | QLDC |  | 2017-12-31 | RM160140 | LKHAYES | Fulton Hogan |  | APH | 2021-05-04 | APH | 2021-05-04 |  |  | Alex.Huizenga@qldc.govt.nz | 2021-05-04 02:22 | SDE | 2021-05-04 21:17 | {F1A4AD5E-6C9A-4002-A396-F6FCF9BD0D0E}
887 | 338918 | WWPUMP | SPPR - 129 PENINSULA ROAD | ACTIVE | QLDC |  | 2020-12-30 | Veolia WO 0003291 Peninsula Rd | QUEENTWN | Veolia |  | APH | 2021-05-12 | APH | 2021-05-12 | High |  | Alex.Huizenga@qldc.govt.nz | 2021-05-12 02:12 | SDE | 2021-05-20 01:49 | {9D6E5199-ABE1-4CF3-A0C0-FDB07BDB68EC}
1287 | 340691 | WWPUMP | SPJV-JACKS POINT VILLAGE | ACTIVE | PRIVATE |  | 2019-03-15 | RM181117 | QUEENTWN |  |  | APH | 2021-06-30 | APH | 2021-06-30 | High |  | Alex.Huizenga@qldc.govt.nz | 2021-06-29 21:45 | Alex.Huizenga@qldc.govt.nz | 2021-07-15 20:54 | {5E3A657E-0413-4613-8235-6736E49D544E}
1288 | 340692 | WWPUMP | SPLHTB-LAKE HAYES TOILET BLOCK | ACTIVE | QLDC |  | 2020-01-01 | Lake Hayes Toilet Block WWPS | LKHAYES |  | Eone pumpstation with 2000 L emergency storage | APH | 2021-07-01 | APH | 2021-07-01 | Medium |  | Alex.Huizenga@qldc.govt.nz | 2021-06-30 23:41 | SDE | 2021-07-04 21:27 | {C22DA2F4-8233-4258-B685-8DCCE314D9E5}
1289 | 340953 | WWPUMP | SPRS - 1A ROBERTSON ST | ACTIVE | QLDC | 0 | 2020-10-30 | ww | QUEENSTOWN | WC | e One Grinder Pump | APH | 2021-07-19 | APH | 2021-07-19 | Medium |  | Alex.Huizenga@qldc.govt.nz | 2021-07-19 01:40 | SDE | 2021-07-25 20:41 | {F4E37E3C-2BEC-4E15-81A2-F508354E91B8}
1689 | 342293 | WWPUMP | SPCP-CARDRONA PRINGLE CREEK | ACTIVE | QLDC | 543.2 | 2021-07-05 | C-20-165 | CARDRONA | Fulton Hogan |  | APH | 2021-08-24 | APH | 2021-08-24 |  |  | Alex.Huizenga@qldc.govt.nz | 2021-08-24 02:41 | Tim.White@qldc.govt.nz | 2021-09-26 23:20 | {0EAB9254-5D29-455C-8BB6-2B615F395DBE}
2889 | 348734 | WWPUMP | Recreation Ground Pump Station | Active | QLDC | 314.91 | 2021-02-22 05:44 | RM191386 | QUEENSTOWN | HEB |  | ASCL | 2021-12-01 13:00 |  |  |  |  | Steve.Boswell_EXT | 2022-02-28 21:47 | Steve.Boswell_EXT | 2022-06-09 20:33 | {AAE50243-D401-4408-B343-220DADC43FF0}
2890 | 348735 | WW Tank | WW Emergency Storage tanks 550m³ | Active | QLDC | 314.6 | 2021-02-22 05:44 | RM191386 | QUEENSTOWN | HEB | 550m³ DN2500 GRP Tanks | ASCL | 2021-12-01 13:00 |  |  |  |  | Steve.Boswell_EXT | 2022-02-28 21:47 | Steve.Boswell_EXT | 2022-02-28 21:47 | {3E2768C2-01EF-4278-AF87-8700ABE5E5C0}
2891 | 348736 | WW Tank | WW Emergency Storage tanks 550m³ | Active | QLDC | 314.6 | 2021-02-22 05:44 | RM191386 | QUEENSTOWN | HEB | 550m³ DN2500 GRP Tanks | ASCL | 2021-12-01 13:00 |  |  |  |  | Steve.Boswell_EXT | 2022-02-28 21:47 | Steve.Boswell_EXT | 2022-02-28 21:47 | {95761979-6525-498A-9727-392CC6446F45}
3289 | 350264 | WWPUMP | Existing Pump Station SPSB | REMOVED | QLDC | 0 | 1976-01-01 13:00 | 24 | QUEENSTOWN | Veolia | Record error | ASCL | 2001-01-01 13:00 | UNK | 2001-01-01 13:00 |  |  | Steve.Boswell_EXT | 2022-04-04 02:45 | Steve.Boswell_EXT | 2022-06-21 02:51 | {7A6B8B27-C76D-48AE-AB63-BFAE5C20250C}
3689 | 351324 | WWPUMP | FLYGT DP 3045 MT 3`~234 |  |  |  |  | 191254 |  |  | Pump: Flygt DP 3045 MT 3~ 234 Step tanks: 3 x Harvey Tanks 22500L Underground Water Tank + effluent pumps 2 x PF(50Hz)301012 | [6 empty] | Steve.Boswell_EXT | 2022-04-18 22:54 | Steve.Boswell_EXT | 2022-04-18 22:54 | {27006715-855F-4664-874E-D4847C7047CC}