## 2024 full list
Reporting Agency | Water Type | Ref. code | Data points (and units of measure, where applicable) | Report at | Data Source | Status | Links to standards | Responsible person | Draft Answer
Taumata Arowai | Drinking Water | D-A1 | Number of drinking water networks | O | Hinekorako/GIS- number of schemes | Completed |  | Rebecca | 11
Taumata Arowai | Drinking Water | D-A2 | Number of drinking water treatment plants | O | Hinekorako/GIS | Completed |  | Rebecca | 15
Taumata Arowai | Drinking Water | D-A3 | Number of reservoirs | O | GIS- number of physical res- https://qldc.maps.arcgis.com/apps/dashboards/a43774c5982a41ef8eb240ea8cc75784?token=ldzLUwNy8W-k0lPX_jv1dwwVHk2kJrB_Dxi5b5QDSq1A-kYy3Z9rlg0CElcpIbz-IHLQDIu4F4qxiHUJNdyDZ3zaiFXk4RJHxOs64CvzoGlst5NP6HHCYrXiz2Er2YODWjl3DMsM4X_HiSFnB8z2mJWRlyrcEgTuo0u3yfkDFljM5J6bOZ0Danq6bABHsxQUZP5hw51W7j2dYGwJXz0docmMdkWalGcwl-2uTRt64mTQ9Hkd2oO1EoQ5Cf9ehYkVSus_jr9eGsjP9H-Oiw86pDQ7vN0vKw7Xf7aEJaFJN8c. | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-A4 | Number of pump stations | O | GIS- | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-A5 | Total length of drinking water pipe (km) | O | GIS- | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-A6 | Number of drinking water abstraction points | N | Hinekorakonumber of registered sources | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-A7 | Drinking water network source type | N | Hinekorako/WSP/Resource Consent | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH1 | Number of residential connections in the drinking water network | N | Report from Techone- Aine
Taumata Arowai | Drinking Water | D-EH2 | Number of non-residential connections in the drinking water network | N | Report from Techone- Aine
Taumata Arowai | Drinking Water | D-EH3 | Total population served by the drinking water network | N | Hinekorako- calculated annual from pop figures - link to website | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH4 | Water supplied to the drinking water network | N | ID Monthly reporting dashboard | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH5 | Water imported from other suppliers | O | find out where this would come from- ask simon |  |  |  | 0
Taumata Arowai | Drinking Water | D-EH6 | Water exported to other suppliers | O | Millbrook- check with cardrona - rippon vineyard- irrigation at cardrona
Taumata Arowai | Drinking Water | D-EH7 | Non-residential water use | O | calc- divide total water use by number of connections
Taumata Arowai | Drinking Water | D-EH8 | Number of resource consents that are held | N | WSP/Hinekorako/Consent Folders | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH9 | Type(s) of resources consent | N | CS VUE/WSPs/consent documents | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH10 | Resource consent reference number(s) | N | WSP/ consent documents | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH11 | Expiry dates for resource consent(s) | N | WSP/ consent documents / CS VUE | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH12 | Have consent conditions been met for rate of take and volume of abstraction | N | ID monthly dashboards/ ORC audit reports | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH13 | Consented rate of take for each abstraction point (L/s) | N | WSP/ consent documents / CS VUE | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH14 | Maximum daily consented volume of water-take (m3/day) | N | WSP/ consent documents / CS VUE | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH15 | Maximum annual consented volume of water-take (m3/year) | N | WSP/ consent documents / CS VUE | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH16 | Failure to meet resource consent conditions - provide comments | N | ID/ ORC audit reports | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-EH17 | Sludge (tonnes/year) | N | Cardrona- membrane filters? |  |  | Check with Rebecca- Apex
Taumata Arowai | Drinking Water | D-EH18 | Backwash water (m3/year) | N | Cardrona- membrane filters? |  |  | Check with Rebecca- Apex
Taumata Arowai | Drinking Water | D-EH19 | Screenings (tonnes/year) | N | None- maybe Cardrona |  |  | Check with Rebecca- Apex
Taumata Arowai | Drinking Water | D-EH20 | Disposal route | N |  |  |  | Check with Rebecca- Apex
Taumata Arowai | Drinking Water | D-EH21 | Has an assessment been made for all water-takes whether fish passage is impeded within a natural water body | N | WSP/ consent documents - damming- cardrona
Taumata Arowai | Drinking Water | D-EH22 | Have operational or management processes been put in place to prevent fish ingress | N | WSP
Taumata Arowai | Drinking Water | D-R1 | Median hours to attend to an urgent fault | O | DIA reporting / RFS data |  |  | Sonia
Taumata Arowai | Drinking Water | D-R2 | Median hours to attend to a non-urgent fault | O | DIA reporting |  |  | Sonia
Taumata Arowai | Drinking Water | D-R3 | Median hours to resolve an urgent fault | O | DIA reporting |  |  | Sonia
Taumata Arowai | Drinking Water | D-R4 | Median hours to resolve a non-urgent fault | O | DIA reporting |  |  | Sonia
Taumata Arowai | Drinking Water | D-R5 | Number of planned interruptions | O | Veolia |  |  | Joey
Taumata Arowai | Drinking Water | D-R6 | Number of third-party incidents | O | Veolia |  |  | Joey
Taumata Arowai | Drinking Water | D-R7 | Number of unplanned interruptions | O | Veolia |  |  | Joey
Taumata Arowai | Drinking Water | D-R8 | Number of urban service connections that experience an unplanned interruption for longer than eight hours | O | Water restriction spreadsheet |  |  | Rebecca/Simon
Taumata Arowai | Drinking Water | D-R9 | % of pipes that have received a condition grading | O | TBC |  |  | Vaughn
Taumata Arowai | Drinking Water | D-R10 | % of pipes in poor or very poor condition | O |  |  |  | Vaughn
Taumata Arowai | Drinking Water | D-R12 | Average age of water pipes | O | Karelia- Techone extracts
Taumata Arowai | Drinking Water | D-R13 | % of above-ground assets that have received a condition grading | O
Taumata Arowai | Drinking Water | D-R14 | % of above-ground assets in poor or very poor condition | O
Taumata Arowai | Drinking Water | D-R15 | Average system pressure (kPa) | N | Morgana- modellers provided | Completed |  | Morgana
Taumata Arowai | Drinking Water | D-R16 | Are there set pressure levels of service? | N | Morgana asking the modellers - then put in WSP? | Completed |  | Morgana
Taumata Arowai | Drinking Water | D-R17 | Reference level of pressure (kPa, if set) | N | Subdivision code of practice- 300kpa | Completed |  | Morgana
Taumata Arowai | Drinking Water | D-R18 | Number of properties below reference level of pressure | N | Modellers report | Completed |  | Morgana
Taumata Arowai | Drinking Water | D-R19 | Number of days that water restrictions were applied | O | DIA reporting / water restriction folder | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-R20 | Proportion of affected connections | O | Calculation |  |  | Rebecca
Taumata Arowai | Drinking Water | D-R21 | Have you adopted the FENZ Code of Practice (SNZ PAS 4509:2008)? | O | Veolia | Completed
Taumata Arowai | Drinking Water | D-R22 | % of fire hydrants tested in the previous five years | O | Veolia- confirm this is being done - number of critical hydrants |  |  | Veolia- RM to check
Taumata Arowai | Drinking Water | D-RE1 | Estimated total drinking water network water loss (m3/year) | N | Vaughn water loss calcs | Completed |  | Vaughn
Taumata Arowai | Drinking Water | D-RE2 | Current annual real loss (CARL) | N | Vaughn water loss calcs | Completed |  | Vaughn
Taumata Arowai | Drinking Water | D-RE2b | Optional: Unavoidable Annual Real Losses (UARL) | N | Vaughn water loss calcs | Completed |  | Vaughn
Taumata Arowai | Drinking Water | D-RE3 | Infrastructure Leakage Index (ILI) | N | Vaughn water loss calcs | Completed |  | Vaughn
Taumata Arowai | Drinking Water | D-RE4* | Median residential water consumption (L/day/connection) | N | Calculation + Dia Reporting - ID total water usage
Taumata Arowai | Drinking Water | D-RE5 | Do you have a water conservation education programme in place? | O | Yes- water restriction programme, formalise, leakage response | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-RE6* | Number of residential connections with water meters | O | Sultans is the smart meters- COP- all connections have meters - GIS | Completed |  | Sultan | Luggate- 252 GY- 159
Taumata Arowai | Drinking Water | D-RE7* | Number of non-residential connections with water meters | O | Sultans is the smart meters- COP- all connections have meters - GIS | Completed |  | Sultan | Luggate - 0, GY - 1
Taumata Arowai | Drinking Water | D-RE8 | Number of abstraction points with water meters installed | O | All- consent requirement to have flow meters that are verified | Completed |  | Rebecca | 15
Taumata Arowai | Drinking Water | D-RE9 | Frequency that water abstraction meters are calibrated/verified (years) | O | 5 yearly - depends on the type of meter | Completed |  | Rebecca | 5
Taumata Arowai | Drinking Water | D-RE10 | Number of water abstraction meters connected to telemetry systems | O | All- ORC requirement to have telemetry on water takes. Verification list | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D-RE11 | Days for which a complete telemetry dataset has been recorded | O | Counted from ID monthly report dashboard for consent | Completed |  | Rebecca
Taumata Arowai | Drinking Water | D- RE12* | Electricity use | O | Jeremy Payze |  |  | RM contacted Will
Taumata Arowai | Drinking Water | D- RE13* | Energy use from other fuels | O |  |  |  | RM contacted Will
Taumata Arowai | Drinking Water | D- RE14* | Energy generation | O |  |  |  | RM contacted Will
Taumata Arowai | Drinking Water | D-RE15 | Volume of recycled water supplied to residential customers | O | Cardrona WTP
Taumata Arowai | Drinking Water | D-RE16 | Volume of recycled water supplied to non-residential customers | O | Cardrona WTP
Taumata Arowai | Drinking Water | D-RE17 | Volume of recycled water supplied to managed aquifer recharge | O | consent?
Taumata Arowai | Drinking Water | D-RE18 | Volume of urban stormwater reused in network | O | TBC- 0 | Completed
Taumata Arowai | Drinking Water | D-RL1 | Have you undertaken an assessment to identify critical assets? Provide comments about your critical assets? | O | Yes- TBC procedure . Risk register? criticality framework - all assets - not
Taumata Arowai | Drinking Water | D-RL2 | Has an emergency response plan been developed? Provide comments about your disaster response plan | O | Yes - contamination response plan- incident management plan? | Completed
Taumata Arowai | Drinking Water | D-RL3 | Has a business continuity plan been developed? Provide comments about your business continuity plan | O | Yes- policy- one specific to 3W? Simon
Taumata Arowai | Drinking Water | D-RL4 | Date the emergency response plan was last reviewed. | O
Taumata Arowai | Drinking Water | D-RL5 | Date the business continuity plan was last reviewed. | O
Taumata Arowai | Drinking Water | D-RL6 | Date when an emergency response exercise was last conducted. | O | AF8 civil defence one- Full EOC exercise 25/5/2023- emergency management otago
Taumata Arowai | Drinking Water | D-RL7 | Date when a business continuity plan exercise was last conducted. | O | Check with Bill Nichols
Taumata Arowai | Drinking Water | D-RL8 | Do you have a strategic plan to address future changes in water supply demand. Provide comments. | O | Water demand management plan- 30 yr infrastructure - grow well spatial plan - current capacity and future demand |  |  | Rebecca/Vaughn
Taumata Arowai | Drinking Water | D-RL9 | Number of days that outdoor water use was restricted across each network. | O | DIA reporting |  |  | Rebecca
Taumata Arowai | Drinking Water | D-RL10 | Number of days that outdoor water use was banned across the network. | O | Nil - DIA reporting
Taumata Arowai | Drinking Water | D-RL11 | Were other restrictions imposed across the network. Provide comments about why restrictions were imposed. | O
Taumata Arowai | Drinking Water | D-ES1 | Total capital expenditure relating to drinking water by: | O | TBC - Becs - similar to AMP - Ready @ end of July |  |  | Becs
Taumata Arowai | Drinking Water | D-ES1a | · meeting additional demand | O |  |  |  | Becs
Taumata Arowai | Drinking Water | D-ES1b | · replacing existing assets, improving the level of service | O |  |  |  | Becs
Taumata Arowai | Drinking Water | D-ES2 | Total operating expenditure relating to drinking water | O | Becs- |  |  | Becs
Taumata Arowai | Drinking Water | D-ES3 | Total forecast drinking water capital expenditure | O | Becs- |  |  | Becs
Taumata Arowai | Drinking Water | D-ES4 | Total forecast operational expenditure | O | Becs- |  |  | Becs
Taumata Arowai | Drinking Water | D-ES5 | Total revenue received, relating to drinking water | O | Rates- Millbrook -
Taumata Arowai | Wastewater | W-A1 | Number of wastewater pump stations | O | GIS | Completed
Taumata Arowai | Wastewater | W-A2 | Total length of wastewater pipes (km) | O | GIS | Completed
Taumata Arowai | Wastewater | W-A3 | Total length of combined wastewater and stormwater pipes (km) | O | 0- GIS | Completed
Taumata Arowai | Wastewater | W-A4 | Total length of pressured wastewater pipes (km) | O | GIS | Completed
Taumata Arowai | Wastewater | W-A5 | Total length of vacuum wastewater pipes (km) | O | GIS | Completed
Taumata Arowai | Wastewater | W-A8 | Number of wastewater treatment plants | O | GIS | Completed
Taumata Arowai | Wastewater | W-A9 | Wastewater treatment process(es) | N | GIS/consent/O&M manual | Completed
Taumata Arowai | Wastewater | W-A10 | Treated wastewater discharge receiving environment | N | consent | Completed
Taumata Arowai | Wastewater | W-EH1* | Number of residential connections in the wastewater network to gravity sewers | O | Asset management - GIS
Taumata Arowai | Wastewater | W-EH2* | Number of residential connections in the wastewater network to pressure sewers | O | Asset management - GIS
Taumata Arowai | Wastewater | W-EH3* | Number of residential connections in the wastewater network to vacuum sewers | O | Asset management - GIS
Taumata Arowai | Wastewater | W-EH4* | Number of non-residential connections in the wastewater network to gravity sewers | O | Asset management - GIS
Taumata Arowai | Wastewater | W-EH5* | Number of non-residential connections in the wastewater network to pressure sewers | O | Asset management - GIS
Taumata Arowai | Wastewater | W-EH6* | Number of non-residential connections in the wastewater network to vacuum sewers | O | Asset management - GIS
Taumata Arowai | Wastewater | W-EH7* | Total population served by the wastewater network | O | Hinekorako | Completed
Taumata Arowai | Wastewater | W-EH8 | Number of resource consents held for wastewater treatment plant | N | Consent | Completed
Taumata Arowai | Wastewater | W-EH9 | Type of resource consent(s) | N | consent | Completed
Taumata Arowai | Wastewater | W-EH10 | Resource consent reference number(s) | N | consent | Completed
Taumata Arowai | Wastewater | W-EH11 | Resource consent expiry date(s) | N | consent | Completed
Taumata Arowai | Wastewater | W-EH12 | Consent status(s) | N | consent | Completed
Taumata Arowai | Wastewater | W-EH13 | Wastewater overflow regulation approach(s) under local regional plan | N | ORC water plan | Completed
Taumata Arowai | Wastewater | W-EH14 | Number of consents held for wastewater overflows in the network | N | 0 | Completed
Taumata Arowai | Wastewater | W-EH15 | Resource consent reference numbers for wastewater overflows | N | n/a | Completed
Taumata Arowai | Wastewater | W-EH16 | Resource consent expiry date for wastewater overflows | N | n/a | Completed
Taumata Arowai | Wastewater | W-EH27 | Are overflows recorded through verbal reports? | O | yes | Completed
Taumata Arowai | Wastewater | W-EH28 | Are overflows recorded through SCADA monitoring? | O | no | Completed
Taumata Arowai | Wastewater | W-EH29 | Are overflows calculated through hydraulic models? | O | ? Morgana- capacity modelling | Completed |  | Morgana
Taumata Arowai | Wastewater | W-EH30 | Are overflows calculated through calibrated hydraulic models? | O | ? - flowmeters | Completed |  | Morgana
Taumata Arowai | Wastewater | W-EH36 | Wastewater treatment plant - peak to nominal flow ratio | N | Morgana/ Sultan | Completed |  | Morgana
Taumata Arowai | Wastewater | W-EH37 | What design standards do you use for calculating the capacity of wastewater network? | N | Morgana- QLDC cop |  |  | Morgana
Taumata Arowai | Wastewater | W-EH38 | Levels of service for preventing wastewater overflows due to stormwater ingress | N | Morgana |  |  | Morgana
Taumata Arowai | Wastewater | W-EH39 | Number of trade waste consents | O | check which trade waste consent this is | Completed |  | Claudia
Taumata Arowai | Wastewater | W-RL1 | Have you undertaken an assessment to identify critical wastewater assets? | O | yes- similar to water - criticality framework - and not applied to new assets
Annual Report/DIA |  |  | KPI: Percentage of external contractor and internal RFS resolved within specified timeframe (3 Waters, Solid Waste, Roading)
Annual Report/DIA | Water Supply |  | KPI: Average consumption of water per person per day |  | TechOne - CS
Annual Report/DIA | Water Supply |  | KPI: Compliance of each municipal water supply with the NZ Drinking Water Standards for protecting public health, specifically: a) bacteriological compliance; and
Annual Report/DIA | Water Supply |  | b) protozoal compliance.
Annual Report/DIA | Water Supply |  | KPI: Percentage of water lost from each municipal water reticulation network |  | Alison – I have had a look at changing from % loss to the Infrastructure Leakage Index (ILI) preferred by Taumata Arowai and have favoured sticking with the status quo. The ILI is a more meaningful measure when you have customer metering. As such I propose we stick with % losses as our measure until we have rolled out metering. (Simon Mason - 05/02/2024)
Annual Report/DIA | Water Supply |  | KPI: Median response time to attend to urgent and non urgent issues resulting from municipal water reticulation network faults and unplanned interruptions a) between the time of notification and the time when service personnel reach the site
Annual Report/DIA | Water Supply |  | KPI: Median response time to attend to urgent and non urgent issues resulting from municpal water reticulation network faults and unplanned interruptions b) Between the time of notification and resolution of the blockage or other fault.
Annual Report/DIA | Water Supply |  | KPI: Number of complaints per 1000 connections to a public water reticulation network about
Annual Report/DIA | Water Supply |  | a) the clarity of drinking water
Annual Report/DIA | Water Supply |  | b) the taste of drinking water
Annual Report/DIA | Water Supply |  | c) the odour of drinking water
Annual Report/DIA | Water Supply |  | d) the pressure or flow of drinking water
Annual Report/DIA | Water Supply |  | e) the continuity of supply of drinking water
Annual Report/DIA | Water Supply |  | f) the way in which a local government organisation responds to issues with a water supply
Annual Report/DIA | Waste Water |  | KPI: Median response time to attend to sewerage overflows resulting from blockages or other faults of a municipal sewerage system a) between the time of notification and the time when service personnel reach the site
Annual Report/DIA | Waste Water |  | KPI: Median response time to attend to sewerage overflows resulting from blockages or other faults of a municipal sewerage system b) between the time of notification and resolution of the blockage or other fault.
Annual Report/DIA | Waste Water |  | KPI: Annual number of dry weather overflows from a municipal sewerage system per 1000 sewerage connections
Annual Report/DIA | Waste Water |  | KPI: Compliance with resource consents for discharge to air, land, or water from a municipal sewerage system, measured by the number of:
Annual Report/DIA | Waste Water |  | a) abatement notices
Annual Report/DIA | Waste Water |  | b) infringement notices
Annual Report/DIA | Waste Water |  | c) enforcement orders
Annual Report/DIA | Waste Water |  | d) successful prosecutions
Annual Report/DIA | Waste Water |  | KPI: Number of complaints per 1000 properties connected to a municipal sewerage system about:
Annual Report/DIA | Waste Water |  | a) odour
Annual Report/DIA | Waste Water |  | b) faults
Annual Report/DIA | Waste Water |  | c) blockages
Annual Report/DIA | Waste Water |  | d) the territorial authority's response to issues with its sewerage system.
Annual Report/DIA | Storm water |  | KPI: a) Number of flooding events that occur in a territorial authority district
Annual Report/DIA | Storm water |  | b) For each flooding event, the number of habitable floors affected. (expressed per 1000 properties connected to the territorial authorities stormwater system)
Annual Report/DIA | Storm water |  | KPI: Compliance with resource consents for discharge from a municipal stormwater system, measured by the number of:
Annual Report/DIA | Storm water |  | a) abatement notices
Annual Report/DIA | Storm water |  | b) infringement notices
Annual Report/DIA | Storm water |  | c) enforcement orders
Annual Report/DIA | Storm water |  | d) successful prosecutions
Annual Report/DIA | Storm water |  | KPI: Median response time between the time of notification and the time when service personnel reach the site when habitable floors are affected by flooding resulting from faults in a municipal stormwater system.
Annual Report/DIA | Storm water |  | KPI: Number of complaints per 1000 properties connected to a municipal sewerage system about:
Annual Report/DIA | Storm water |  | a) faults (including blockages) with a municipal stormwater system.

## 2023 District level measures
Outcome | Performance Measure | Data Points | Operator Type | Code | 2023 Result | Confidence Level | Assignment | Data Source
General Asset Information | Drinking Water Network Information | Number of drinking water networks | All | A1 | 10 | Reliable/Verified | Karelia
| Drinking Water Network Information | Number of treatment plants | All | A2 | 12 | Reliable/Verified | Karelia | GIS
| Drinking Water Network Information | Number of reservoirs | All | A3 | 85 | Reliable/Verified | Karelia | GIS
| Drinking Water Network Information | Number of pump stations | All | A4 | 54 | Reliable/Verified | Karelia | GIS
| Drinking Water Network Information | Kilometres of pipe | All | A5 | 654 | Reliable/Verified | Karelia | GIS
Environmental and public health is protected | Volume of water abstracted (m3/year) | Water imported from other suppliers (m3/year) | All | EH6 | 0 | Reliable/Verified
| Volume of water abstracted (m3/year) | Water exported to other suppliers (m3/year) | All | EH7 | 243947 | Reliable/Verified |  | Scada- Milllbrook flows
| Resource consent compliance | Number of resource consents that are held | All | EH9 | 10 | Reliable/Verified |  | RFS/Techone
Services are reliable | Fault attendance and resolution | Median hours to attend an urgent fault | All | R1 | 0.63 | Reliable/Verified |  | RFS/Techone
| Fault attendance and resolution | Median hours to attend a non-urgent fault | All | R2 | 16.25 | Reliable/Verified |  | RFS/Techone
| Fault attendance and resolution | Median hours to resolve an urgent fault | All | R3 | 14.48 | Reliable/Verified |  | RFS/Techone
| Fault attendance and resolution | Median hours to resolve a non-urgent fault | All | R4 | 73.8 | Reliable/Verified |  | RFS/Techone
| Systems interruption | Planned interruptions (Number) | All | R5 | 254 | Less Reliable | Veolia | RFS/Techone
| Systems interruption | Third party incidents (Number) | All | R6 | 10 | Less Reliable | Veolia | RFS/Techone
| Asset condition | % of pipeline that have received a condition grading | All | R7 | 0 | Uncertain | Mark | Not undertaken in the last 12 months
| Asset condition | % of pipelines in poor or very poor condition | All | R8 |  | Uncertain | Mark
| Asset condition | Average age of water pipelines | All | R9 | 19.5 | Less Reliable | Karelia | Valution
| Asset condition | % of above ground assets that have received a condition grading | All | R10 | 0 | Uncertain | Mark | Not undertaken in the last 12 months
| Asset condition | % of above ground assets in poor or very poor condition | All | R11 |  | Uncertain | Mark
| Water pressure | Has a reference level for water pressure been set? | All | R13 | Yes | Reliable/Verified |  | Calibrated model
| Water restrictions | Total number of days that water restrictions were in place across the district or department area | All | R14 | 48 | Reliable/Verified | Simon | Calculation
|  | Number of affected properties | All | R15 | 11 | Less Reliable | Simon | 11 schemes affected
| Sufficient fire-fighting water available | Have you adopted Fire and Emergency New Zealand Code of Practice (SNZ PAS 4509:2008)? | All | R16 | Yes | Reliable/Verified | Veolia | VAMs
|  | % of Fire hydrants tested in the previous five years | All | R17 | 58.33 | Reliable/Verified | Veolia | Calculation
Resources are used efficiently | Water use | Do you have a water conservation education programme in place? | All | RE5 | No | Reliable/Verified
| Water use | Number of residential connections with water meters | Council | RE6 | 1058 | Less Reliable |  | Last year +5%
| Water use | Number of non-residential connections with water meters | Council | RE7 | 78 | Less Reliable |  | Last year +5%
| Energy efficiency | Electricity use (kWh) | Council | RE8 | 1979383 | Reliable/Verified | Gus | Techone
| Energy efficiency | Energy use from other fuels (GJ) | Council | RE9 | 0 | Reliable/Verified | Gus | Techone
| Energy efficiency | Energy generation (GJ) | Council | RE10 | 0 | Reliable/Verified | Gus | Techone
Services are resilient | Critical assets | Have you undertaken an assessment to identify critical assets? | All | RL1 | Yes | Reliable/Verified
Note on F9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Milbrock

## 2023 Network level measures
Outcome | Performance Measure | Data Points | Operator Type | Code | Network 1 | Network 2 | Network 3 | Network 4 | Network 5 | Network 6 | Network 7 | Network 8 | Network 9 | Network 10 | Network 11
Network ID | N/A | ID of the network as recorded in Hinekōrako | All | Supply ID | WAN002 | ART001 | COR006 | LAK003 | QUE001 | ARR001 | GLE003 | HAW002 | LUG001 | WAN007
Resources are used efficiently | Drinking water network water losses | Estimated total drinking water network water loss (m3/year) | All | RE1 | 3365930 | 175031 | 42893 | 280351 | 3992770 | 825737 | 122218 | 380337 | 75622 | 2750
| Drinking water network water losses | Current annual real loss (CARL) | All | RE2-1 | 91 | 470 | 5326 | 156 | 220 | 311 | 199 | 688 | 380 | 5715
| Drinking water network water losses | Current annual real loss unit of measure | All | RE2-2 |  |  |  |  | litres/service connection/day | litres/service connection/day | litres/service connection/day | litres/service connection/day | litres/service connection/day
| Drinking water network water losses | Infrastructure Leakage Index (CARL/UARL) | All | RE3 | 1.1 | 1 |  | 3.2 | 3 | 5.8 | 14.8 | 3 | 2.2 | 0
| Water use | Median residential water consumption (l/day/connection) | Council | RE4 | 429 | 446 | 4162 | 450 | 397 | 571 | 473 | 599 | 407 | 2367
General asset information | Drinking water network information | Number of drinking water abstraction points | All | A6 | 2 | 2 | 1 | 3 | 2 | 3 | 2 | 4 | 2 | 1
| Drinking water network information | Drinking water network source type(s) | All | A7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Environmental and public health is protected | Volume of water abstracted | Water supplied to the drinking water network (m3/year) | All | EH5 | 3746411 | 293145 | 83035 | 1184797 | 5146764 | 1258602 | 148389 | 675302 | 118059 | 24857
| Drinking water network connections | Number of residential connections in the drinking water network | Council | EH1 | 5894 | 459 | 19 | 2480 | 6883 | 1451 | 197 | 873 | 290 | 0
| Drinking water network connections | Number of non-residential connections in the drinking water network | Council | EH2 | 2792 | 195 | 1 | 153 | 6053 | 384 | 113 | 250 | 0 | 10
| Drinking water network connections | Total population served by the drinking water network | All | EH3 | 26228 | 2872 | 58 | 9391 | 44708 | 7076 | 1232 | 3767 | 989 | 150
| Volume of water abstracted | Non-residential water use (m3/year) | All | EH8
| Resource consent compliance | Types of resource consent (e.g. water take consent, discharge consents, etc.) | All | EH10 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1
| Resource consent compliance | Resources consent reference numbers | All | EH11 | 2008.459;2008.460 | 2005.762 | RM11.177.01 | 2001.822;RM19.413.01 | 2007.665;2004.552 | RM19.410.01 | 2009.158 | RM14.278.01 | RM19.413.01 | RM19.097.01
| Resource consent compliance | Expiry dates for resource consents | All | EH12 | 2043;2043 | 2042 | 2036 | 2027;2048 | 2042;2040 | 2035 | 2044 | 2050 | 2044 | 2041
Services are reliable | Water pressure | Average system pressure (kPa) | All | R12-1 | 58 | 82 |  | 58 | 67 | 58 | 40 | 76 | 67

## 2024 District Level
Environmental-Performance-Measures-and-Guide-2023.pdf (taumataarowai.govt.nz)
Outcome | Performance Measure | Data Points | Code | Links to documents or rules | Data Source | Who
General Asset Information | Drinking Water Network Information | Number of drinking water networks | D-A1
| Drinking Water Network Information | Number of drinking water treatment plants | D-A2
| Drinking Water Network Information | Number of reservoirs | D-A3 | Karelia - steps to get? | TechOne
| Drinking Water Network Information | Number of pump stations | D-A4 | Karelia - steps to get? | TechOne
| Drinking Water Network Information | Kilometres of pipe | D-A5 | Karelia - steps to get? | GIS / TechOne
Services are reliable | Asset condition | % of pipeline that have received a condition grading | D-R9 | Inspections and desk based assessment
| Asset condition | % of pipelines in poor or very poor condition | D-R10 | Home - Institute of Public Works Engineering Australasia (ipwea.org) |  | Expect that Info Asset Mgr will hold this information - Can we use Vaughn to assist wtih this.
| Asset condition | Average age of water pipelines | D-R12 | ∑(𝑙𝑒𝑛𝑔𝑡ℎ 𝑜𝑓 𝑝𝑖𝑝𝑒𝑙𝑖𝑛𝑒 𝑥 𝑎𝑔𝑒 𝑜𝑓 𝑝𝑖𝑝𝑒𝑙𝑖𝑛𝑒)/∑ 𝑙𝑒𝑛𝑔𝑡ℎ 𝑜𝑓 𝑝𝑖𝑝𝑒𝑙𝑖𝑛e
| Asset condition | % of above ground assets that have received a condition grading | D-R13 |  |  | Andrew S
| Asset condition | % of above ground assets in poor or very poor condition | D-R14 | Proposal (waternz.org.nz) |  | Andrew S
Resources are used efficiently | Water use | Number of residential connections with water meters | D-RE6
| Water use | Number of non-residential connections with water meters | D-RE7
Services are reliable | Critical assets | Have you undertaken an assessment to identify critical assets? | D-RL1
Water services are resilient |  | Have you undertaken an assessment to identify critical drinking water assets? | D-RL2 | Infrastructure Asset Grading Guidelines (waternz.org.nz)
|  | Number of residential connections with water meters | D-RE6
|  | Number of non-residential connections with water meters | D-RE7

## 2024 Network Level
[5 empty] | Wanaka | Arthurs Point | Corbridge | Lake Hayes | Queenstown | Arrowtown | Glenorchy | Hawea | Luggate | Wanaka Airport
Outcome | Performance Measure | Data Points | Code | Issues | WAN002 | ART001 | COR006 | LAK003 | QUE001 | ARR001 | GLE003 | HAW002 | LUG001 | WAN007
Resources are used efficiently | Drinking water network water losses | Estimated total drinking water network water loss (m3/year) | D-RE1 | get total usage of for year from Infrastructure data (from SCADA). Take full year from monhtly report - filter for year
| Drinking water network water losses | Current annual real loss (CARL) | D-RE2 | Differnet from the water leakage report. Vaughn looked at last year... need to reveiw this and work out how report
| Drinking water network water losses | Current annual real loss unit of measure
| Drinking water network water losses | Infrastructure Leakage Index (CARL/UARL) | D-RE3
| Water use | Median residential water consumption (l/day/connection) | D-RE4 | struggle with per day per conenction because usually do per person.. Once confident in number of connections per scheme, then this is OK. Uses that connection report in TechOne
General asset information | Drinking water network information | Drinking water network source type(s) | D-RE5 | easy, in water safety plans - can we have a dashboard to easily extract?
| Drinking water network connections | Number of residential connections in the drinking water network | D-RE6
Environmental and public health is protected | Drinking water network connections | Number of non-residential connections in the drinking water network | D-RE7
| Drinking water network connections | Total population served by the drinking water network | D-EH3 | Annual population calculations for each scheme. Rebecca does in a spreadsheet
|  | Number abstraction points with water meters installed | D-RE8